## Instructions
Please include the instrument(s) on the Calibration Report that are capable of measuring the following data points.
Measured Data | Instrument Example
Inlet/Outlet Water Temperatures | Thermocouple, Thermocouple grid, Thermometer
Water Flow | Turbine meters, Coriolis meters, Scales
Gas Flow | Diaphragm/bellows, Coriolis meters, Rotary meters
Oil Flow Rate | Scale, Burrette
Higher Heating Value | Gas Calorimeter, Gas Chromatograph, Standard Hydrometer
Combustion Gas (CO, CO2) levels | Combustion Analyzer
Gas Pressure | Pressure Gage, Manometer
Gas/Oil Temperature | Thermometer, Thermocouple probe
Voltage/Current | Voltmeter, Ammeter, Analog Meter, Digital Meter, Transducers, etc.
Barometric Pressure | Barometer, Commercial Weather Information, other

## Calibration Report
Laboratory Name: |  | [Enter name of laboratory] |  | Laboratory Contact: | [Enter laboratory contact name]
Test Cell Name/Number: (if applicable) |  | [Enter name or number of test cell |  | Date Submitted to AHRI: | [Enter date of submission to AHRI]
| INSTRUMENT NAME | ASSET/ID # | MODEL NUMBER | SERIAL NUMBER | LAST DATE OF CALIBRATION | NEXT DATE OF CALIBRATION | National Standard for Traceability (e.g. NIST, A2LA, UKAS, SCC, etc)
1 | [General name] | [Specific ID #] | [General model number] | [Specific serial number] | [MM/DD/YYYY] | [MM/DD/YYYY] | [Specific Standard]
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
Laboratory Name: |  | [Enter name of laboratory] |  | Laboratory Contact: | [Enter laboratory contact name]
Test Cell Name/Number: (if applicable) |  | [Enter name or number of test cell |  | Date Submitted to AHRI: | [Enter date of submission to AHRI]
| INSTRUMENT NAME | ASSET/ID # | MODEL NUMBER | SERIAL NUMBER | LAST DATE OF CALIBRATION | NEXT DATE OF CALIBRATION | National Standard for Traceability (e.g. NIST, A2LA, UKAS, SCC, IAS, etc)
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
Laboratory Name: |  | [Enter name of laboratory] |  | Laboratory Contact: | [Enter laboratory contact name]
Test Cell Name/Number: (if applicable) |  | [Enter name or number of test cell |  | Date Submitted to AHRI: | [Enter date of submission to AHRI]
| INSTRUMENT NAME | ASSET/ID # | MODEL NUMBER | SERIAL NUMBER | LAST DATE OF CALIBRATION | NEXT DATE OF CALIBRATION | National Standard for Traceability (e.g. NIST, A2LA, UKAS, SCC, IAS, etc)
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
Laboratory Name: |  | [Enter name of laboratory] |  | Laboratory Contact: | [Enter laboratory contact name]
Test Cell Name/Number: (if applicable) |  | [Enter name or number of test cell |  | Date Submitted to AHRI: | [Enter date of submission to AHRI]
| INSTRUMENT NAME | ASSET/ID # | MODEL NUMBER | SERIAL NUMBER | LAST DATE OF CALIBRATION | NEXT DATE OF CALIBRATION | National Standard for Traceability (e.g. NIST, A2LA, UKAS, SCC, IAS, etc)
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100