## 550-590 (I-P)
ACCL Minimum Requirement Catalog Template - Standard 550/590 (I-P)1,2,3,4,5
General Information
Manufacturer's Name:
Model Number:
Refrigerant Designation:
Electrical Connection (V/Phase/Hz):
Catalog Name and Version:
Date Catalog was Created:
Published Performance | Evaporator Leaving Water Temperature, °F6 | 100% Load Performance Map | [7 empty] | 75% Load Performance Map |  |  |  |  | 50% Load Performance Map |  |  |  |  | 25%
|  | Condenser Entering Air Dry Bulb, °F | [7 empty] | Condenser Entering Air Dry Bulb, °F
|  | 55 | 65 | 75 | 85 | 95 | 105 | 115 | 125 | 75 | 77.5 | 80 | 82.5 | 85 | 60 | 62.5 | 65 | 67.5 | 70 | 55
Refrigeration Capacity, tonR | 39
Total Power, kW
Fan Power [optional], kW
Efficiency, Cooling EER, Btu/Wh
Efficiency, Cooling COP, kW/kW
Efficiency, Cooling kW/tonR, kW/tonR
Evaporator Water Pressure Drop, ft H2O
Evaporator Entering Water Temperature, °F
Evaporator Water Flow Rate, gpm7
Refrigeration Capacity, tonR | 41
Total Power, kW
Fan Power [optional], kW
Efficiency, Cooling EER, Btu/Wh
Efficiency, Cooling COP, kW/kW
Efficiency, Cooling kW/tonR, kW/tonR
Evaporator Water Pressure Drop, ft H2O
Evaporator Entering Water Temperature, °F
Evaporator Water Flow Rate, gpm7
Refrigeration Capacity, tonR | 43
Total Power, kW
Fan Power [optional], kW
Efficiency, Cooling EER, Btu/Wh
Efficiency, Cooling COP, kW/kW
Efficiency, Cooling kW/tonR, kW/tonR
Evaporator Water Pressure Drop, ft H2O
Evaporator Entering Water Temperature, °F
Evaporator Water Flow Rate, gpm7
Refrigeration Capacity, tonR | 44
Total Power, kW
Fan Power [optional], kW
Efficiency, Cooling EER, Btu/Wh
Efficiency, Cooling COP, kW/kW
Efficiency, Cooling kW/tonR, kW/tonR
Evaporator Water Pressure Drop, ft H2O
Evaporator Entering Water Temperature, °F
Evaporator Water Flow Rate, gpm7
Refrigeration Capacity, tonR | 45
Total Power, kW
Fan Power [optional], kW
Efficiency, Cooling EER, Btu/Wh
Efficiency, Cooling COP, kW/kW
Efficiency, Cooling kW/tonR, kW/tonR
Evaporator Water Pressure Drop, ft H2O
Evaporator Entering Water Temperature, °F
Evaporator Water Flow Rate, gpm7
Refrigeration Capacity, tonR | 47
Total Power, kW
Fan Power [optional], kW
Efficiency, Cooling EER, Btu/Wh
Efficiency, Cooling COP, kW/kW
Efficiency, Cooling kW/tonR, kW/tonR
Evaporator Water Pressure Drop, ft H2O
Evaporator Entering Water Temperature, °F
Evaporator Water Flow Rate, gpm7
Refrigeration Capacity, tonR | 49
Total Power, kW
Fan Power [optional], kW
Efficiency, Cooling EER, Btu/Wh
Efficiency, Cooling COP, kW/kW
Efficiency, Cooling kW/tonR, kW/tonR
Evaporator Water Pressure Drop, ft H2O
Evaporator Entering Water Temperature, °F
Evaporator Water Flow Rate, gpm7
IPLV.IP Calculation
Published Performance | Evaporator Leaving Water Temperature, °F6 | Condenser Entering Air Dry Bulb, °F and % Load
|  | 55.0, 25% |  | 65.0, 50% |  | 80.0, 75% |  | 95.0, 100%
Refrigeration Capacity, tonR | 44
Power, kW
Efficiency, COP, EER, or kW/tonR
| IPLV.IP |  | Btu/W·h |  | kW/kW |  | kW/tonR
Proper claims to AHRI Certification and AHRI Mark
AHRI Mark
Notes
1. The following apply to all ratings shown above: Evaporator Fouling Factor: 0.000100 h*ft2*°F/Btu Condenser Fouling Factor: 0.000 h·ft2·°F/Btu Atmospheric Pressure: 14.696 psia 2. Highlighted fields represent the minimum required inputs. For units with continuous unloading, highlighted fields shall be provided. For units with discrete capacity steps, performance at each capacity step shall be provided. 3. All interpolated data within a units published performance is suject to AHRI testing. 4. All Published ratings for this unit shall be included in the values shown above. Performance at different conditions (i.e. different air and water temperatures, water flow rates, atmospheric pressures, fouling factors, etc.) shall not be published. 5. All values shall have the correct significant figures as in Table 8 of AHRI 550/590. 6. Full-Load Evaporator Water Temperature Change: 10.00°F. 7. Evaporator flow rates are to be held constant at full-load values for all part-load conditions.

## 551-591 (SI)
ACCL Minimum Requirement Catalog Template - Standard 551/591 (SI)1,2,3,4,5
General Information
Manufacturer's Name:
Model Number:
Refrigerant Designation:
Electrical Connection (V/Phase/Hz):
Catalog Name and Version:
Date Catalog was Created:
Published Performance | Evaporator Leaving Water Temperature, °C6 | 100% Load Performance Map | [9 empty] | 75% Load Performance Map |  |  |  |  | 50% Load Performance Map |  |  |  |  | 25%
|  | Condenser Entering Air Dry Bulb, °C | [9 empty] | Condenser Entering Air Dry Bulb, °C
|  | 12.8 | 15 | 20 | 25 | 30 | 35 | 40 | 45 | 50 | 51.7 | 25 | 26 | 27 | 28 | 29 | 17 | 18 | 19 | 20 | 21 | 13
Refrigeration Capacity, kW | 5
Total Power, kW
Fan Power [optional], kW
Efficiency, Cooling COP, kW/kW
Evaporator Water Pressure Drop, kPa
Evaporator Entering Water Temperature, °C
Evaporator Water Flow Rate, L/s7
Refrigeration Capacity, kW | 5.5
Total Power, kW
Fan Power [optional], kW
Efficiency, Cooling COP (kW/kW)
Evaporator Water Pressure Drop, kPa
Evaporator Entering Water Temperature, °C
Evaporator Water Flow Rate, L/s7
Refrigeration Capacity, kW | 6
Total Power, kW
Fan Power [optional], kW
Efficiency, Cooling COP, kW/kW
Evaporator Water Pressure Drop, kPa
Evaporator Entering Water Temperature, °C
Evaporator Water Flow Rate, L/s7
Refrigeration Capacity, kW | 6.5
Total Power, kW
Fan Power [optional], kW
Efficiency, Cooling COP, kW/kW
Evaporator Water Pressure Drop, kPa
Evaporator Entering Water Temperature, °C
Evaporator Water Flow Rate, L/s7
Refrigeration Capacity, kW | 7
Total Power, kW
Fan Power [optional], kW
Efficiency, Cooling COP, kW/kW
Evaporator Water Pressure Drop, kPa
Evaporator Entering Water Temperature, °C
Evaporator Water Flow Rate, L/s7
Refrigeration Capacity, kW | 7.5
Total Power, kW
Fan Power [optional], kW
Efficiency, Cooling COP, kW/kW
Evaporator Water Pressure Drop, kPa
Evaporator Entering Water Temperature, °C
Evaporator Water Flow Rate, L/s7
Refrigeration Capacity, kW | 8
Total Power, kW
Fan Power [optional], kW
Efficiency, Cooling COP, kW/kW
Evaporator Water Pressure Drop, kPa
Evaporator Entering Water Temperature, °C
Evaporator Water Flow Rate, L/s7
Refrigeration Capacity, kW | 8.5
Total Power, kW
Fan Power [optional], kW
Efficiency, Cooling COP, kW/kW
Evaporator Water Pressure Drop, kPa
Evaporator Entering Water Temperature, °C
Evaporator Water Flow Rate, L/s7
Refrigeration Capacity, kW | 9
Total Power, kW
Fan Power [optional], kW
Efficiency, Cooling COP, kW/kW
Evaporator Water Pressure Drop, kPa
Evaporator Entering Water Temperature, °C
Evaporator Water Flow Rate, L/s7
IPLV.SI Calculation
Published Performance | Evaporator Leaving Water Temperature, °C6 | Condenser Entering Air Dry Bulb, °C and % Load
|  | 35.0, 100% |  | 27.0, 75% |  | 19.0, 50% |  | 13.0, 25%
Refrigeration Capacity, kW | 7
Total Power, kW
Efficiency, Cooling COP (kW/kW)
| IPLV.SI |  | kW/kW
Proper claims to AHRI Certification
AHRI Mark
Notes
1. The following apply to all ratings shown above: Evaporator Fouling Factor: 0.0180 m2·K/kW Condenser Fouling Factor: 0.000 m2·K/kW Atmospheric Pressure: 101.33 kPa 2. Highlighted fields represent the minimum required inputs. For units with continuous unloading, highlighted fields shall be provided. For units with discrete capacity steps, performance at each capacity step shall be provided. 3. All interpolated data within a units published performance is suject to AHRI testing. 4. All Published ratings for this unit shall be included in the values shown above. Performance at different conditions (i.e. different air and water temperatures, water flow rates, atmospheric pressures, fouling factors, etc.) shall not be published. 5. All values shall have the correct significant figures as in Table 8 of AHRI 551/591. 6. Full-Load Evaporator Water Temperature Change: 5.00°C. 7. Evaporator flow rates are to be held constant at full-load values for all part-load conditions.

## EN 14511 & 14825
ACCL Minimum Requirement Catalog Template - EN 14511 & 148251,2,3
General Information
Manufacturer's Name:
Model Number:
Refrigerant Designation:
Electrical Connection (V/Phase/Hz):
Catalog Name and Version:
Date Catalog was Created:
Standard Rating Conditions
Published Performance | Evaporator Leaving Water Temperature, °C4 | Condenser Entering Air Dry Bulb, °C
35
Refrigeration Capacity, kW | 7
Total Power, kW
Fan Power [optional], kW
Efficiency, Cooling COP, kW/kW
Evaporator Water Pressure Drop, kPa
Evaporator Water Flow Rate, L/s
Refrigeration Capacity, kW | 18
Total Power, kW
Fan Power [optional], kW
Efficiency, Cooling COP, kW/kW
Evaporator Water Pressure Drop, kPa
Evaporator Water Flow Rate, L/s
SEER Calculation
| SEER Condition | A | B | C | D
Published Performance | % Load | 100% | 73.68% | 47.37% | 21.05%
| Total hours per bin | 13 | 63 | 178 | 225
Fan Coil Application, Fixed Leaving Water Temperature
SEER (kWh/kWh) | #DIV/0! | kWh/kWh
Reference Annual Cooling Demand, QC | 0 | kWh
Pdesignc | 0 | kW
Equivalent Active Mode | 350 | HCE (h) | #DIV/0! | QCE (kWh)
SEERon | #DIV/0! | kWh/kWh
Thermostat-off Mode | 221 | HTO (h) |  | PTO (kW)
Standby Mode | 2142 | HSB (h) |  | PSB (kW)
Crankcase Heater | 7760 | HCK (h) |  | PCK (kW)
Off Mode | 5088 | HOFF (h) |  | POFF (kW)
Outdoor Entering Air Dry Bulb, °C |  | 35 | 30 | 25 | 20
Indoor Water Leaving Temperature, °C5 |  | 7 | 7 | 7 | 7
Refrigeration Capacity, kW
Total Power, kW
Efficiency, Cooling COP (kW/kW)
Fan Coil Application, Variable Leaving Water Temperature
SEER (kWh/kWh) | #DIV/0! | kWh/kWh
Reference Annual Cooling Demand, QC | 0 | kWh
Pdesignc | 0 | kW
Equivalent Active Mode | 350 | HCE (h) | #DIV/0! | QCE (kWh)
SEERon | #DIV/0! | kWh/kWh
Thermostat-off Mode | 221 | HTO (h) |  | PTO (kW)
Standby Mode | 2142 | HSB (h) |  | PSB (kW)
Crankcase Heater | 7760 | HCK (h) |  | PCK (kW)
Off Mode | 5088 | HOFF (h) |  | POFF (kW)
Outdoor Entering Air Dry Bulb, °C |  | 35 | 30 | 25 | 20
Indoor Water Leaving Temperature, °C4 |  | 7 | 8.5 | 10 | 11.5
Refrigeration Capacity, kW
Total Power, kW
Efficiency, Cooling COP (kW/kW)
Cooling Floor Application, Fixed Leaving Water Temperature
SEER (kWh/kWh) | #DIV/0! | kWh/kWh
Reference Annual Cooling Demand, QC | 0 | kWh
Pdesignc | 0 | kW
Equivalent Active Mode | 350 | HCE (h) | #DIV/0! | QCE (kWh)
SEERon | #DIV/0! | kWh/kWh
Thermostat-off Mode | 221 | HTO (h) |  | PTO (kW)
Standby Mode | 2142 | HSB (h) |  | PSB (kW)
Crankcase Heater | 7760 | HCK (h) |  | PCK (kW)
Off Mode | 5088 | HOFF (h) |  | POFF (kW)
Condenser Entering Air Dry Bulb, °C |  | 35 | 30 | 25 | 20
Indoor Water Leaving Temperature, °C5 |  | 18 | 18 | 18 | 18
Refrigeration Capacity, kW
Total Power, kW
Efficiency, Cooling COP (kW/kW)
Proper claims to AHRI Certification
AHRI Marks
Notes
1. The following apply to all ratings shown above: Evaporator Fouling Factor: 0.000 m2·K/kW Condenser Fouling Factor: 0.000 m2·K/kW Atmospheric Pressure: 101.33 kPa 2. Highlighted feilds represent the minimum required inputs. 3. All values shall have the correct significant figures as in Table 14 of AHRI 551/591. 4. Evaporator water temperature change: 5.00°C 5. Evaporator water flow rates for each part-load condition are equal to flow rates at full-load Standard Rating Conditions.