## Information and Instructions
Facility Inspection Form
Commercial Furnaces (CFRN) Certification Program
Tabs | Tabs have been color coded as follows
Gray | Instructions and information
Orange | Fillable Forms
Cells | Cells have been color coded as follows to show the action required for each
Gray | Question/Prompt - No action required
Yellow | Response Field - Answer required
No Fill | Answer provived and does not contain an error
Red | Error - Answer provided does not match requirements
Change Log
Version Number | Published Date | Description
v1.0 | 2023-11-08 | Original Published Version
©Copyright 2023, by Air-Conditioning, Heating, and Refrigeration Institute.
Please complete all form tabs below and fill out all required fields

## CFRN-WT1
FORM CFRN-WT1 CFRN APPLICATION FOR WITNESS TESTING AHRI CERTIFICATION PROGRAM FOR COMMERCIAL FURNACES
I, the undersigned, hereby request the Air-Conditioning, Heating, and Refrigeration Institute (AHRI) to approve our test facility, located at:
Company Name:
Test Stand Name:
Street Address:
City:
State/Province:
Country:
Zip/Postal Code: |  |  | Is this a renewal of this test stand?
for the purpose of conducting performance certification tests in accordance with the AHRI Certification Program for Commercial Furnaces (CFRN). All testing shall be conducted in accordance with the Applicable Rating Standard, as defined in the CFRN Operations Manual, and witnessed by the Independent Third-Party Laboratory contracted by AHRI.
Submission of the CFRN Witness Testing Application Package must be accompanied by the following:
a. | A complete list of all instruments and equipment being used to perform certification testing in accordance with the Applicable Rating Standard and a copy of each calibration report showing date of last calibration;
b. | A schematic drawing of the area of the test facility in which certification testing shall be performed; and
c. | Photographs of the test facility in which certification testing shall take place, which include sufficient views to show the location and connection of each instrument.
In signing this form, and submitting all information requested above, I acknowledge that the test facility is in conformance with all of the provisions of the Applicable Rating Standard.
Printed Name
Title
Signature of Certification Program Compliance Officer or Lab Manager
Date
Final approval of this test stand to conduct witness testing in support of the AHRI Certification Program for Commercial Furnaces is contingent upon AHRI’s approval of the information provided and satisfactory completion of a test stand and equipment inspection. AHRI will notify the Participant, in writing, when final approval of the test stand to conduct witness testing has been granted. Final approval must be received before any AHRI certification tests, including program qualification tests, can be conducted in the test stand.

## CFRN-WT2
FORM CFRN-WT2 PERSONNEL EXPERIENCE QUESTIONNAIRE AHRI CERTIFICATION PROGRAM FOR COMMERCIAL FURNACES
Company Name: |  | Please fill out 'Company' on CFRN-WT1
Test Stand Name: |  | Please fill out 'Test Stand Name' on CFRN-WT1
The following personnel are directly responsible for conducting the testing that shall be witnessed at the Participant’s test facility in accordance with the AHRI Commercial Furnaces Certification Program:
| Primary Contact |  |  | Alternate Contact (Optional):
| Name |  |  | Name
| Title |  |  | Title
| Phone Number |  |  | Phone Number
| Email |  |  | Email
| Area of Responsibility for Certification Testing: |  |  | Area of Responsibility for Certification Testing:

## CFRN-WT3
FORM CFRN-WT3 FACILITY AND EQUIPMENT QUESTIONNAIRE AHRI CERTIFICATION PROGRAM FOR COMMERCIAL FURNACES
Company Name: |  | Please fill out 'Company' on CFRN-WT1
Test Stand Name: |  | Please fill out 'Test Stand Name' on CFRN-WT1
1. | What is the operating range of this facility?
| (a) | Capacity: Minimum |  |  | btu/h | Maximum |  | btu/h
| (b) | Power Suppy
|  | 60 Hz, 3φ | Volts
Max. Amps
| (c) | 50 Hz, 3φ | Volts
Max. Amps
2. | How long does it take for you to install a unit for test (fully instrumented)?
[5 empty] | Persons | Hours
Man-Hours
3. | How long does it take you to conduct a complete test series (Thermal Efficiency), start to finish, including calculations?
[5 empty] | Persons | Hours
Man-Hours
4. | How many shifts per day shall you employ for the AHRI witness testing?
5. | What type of equipment do you use for measuring inlet and outlet temperatures?
Describe:
Frequency instrument is callibrated?
Is the primary standard traceable to NIST?
6. | Type of gas flow measuring instruments do you use?
| (a) | Diaphragm/bellow meters
| (b) | Coriolis meters
| (c) | Rotary meters
Frequency instrument is calibrated?
Is the primary standard traceable to NIST?
7. | Type of equipment used for measuring oil flow rate?
| (a) | Scale
Frequency instrument is calibrated?
Is the primary standard traceable to NIST?
| (b) | Burrette
Frequency instrument is calibrated?
Is the primary standard traceable to NIST?
8. | Type of instrument used to determine Higher Heating Value?
| (a) | Gas Calorimeter
| (b) | Gas Chromatograph
| (c) | Standard Hydrometer
Frequency instrument is calibrated?
Is the primary standard traceable to NIST?
9. | Type of equipment do you use for Combustion Gases (CO, CO2) levels?
Describe
Frequency instrument is calibrated?
Is the primary standard traceable to NIST?
10. | Type of equipment used for measure gas pressure?
| (a) | Pressure Gage
Frequency instrument is calibrated?
Is the primary standard traceable to NIST?
| (b) | Manometer
Frequency instrument is calibrated?
Is the primary standard traceable to NIST?
11. | Type of equipment used for measure gas/oil temperature?
| (a) | Thermometer
Frequency instrument is calibrated?
Is the primary standard traceable to NIST?
| (b) | Thermocouple Probe
Frequency instrument is calibrated?
Is the primary standard traceable to NIST?
12. | Type of instrument(s) used to determine voltage and current?
[5 empty] | Voltage |  | Current
| (a) | Analog Meter
| (b) | Digital Meter
| (c) | Transducers
| (d) | Other
Frequency instrument is calibrated?
Voltmeter
Ammeter
Is the primary standard traceable to NIST?
Voltmeter
Ammeter
13. | Describe data acquisition system and data obtained
14. | Method to determine the barometric pressure?
| (a) | Barometer at site (at level of test)
| (b) | Commercial weather information (radio, phone)
| (c) | Other
15. | Is a regulated voltage supply available for the test unit?
16. | If not "regulated," shall the voltage stay within the allowable tolerance of Commercial Furnace Program – Test Protocol during the testing?
Describe: