## Information and Instructions
Facility Inspection Form
Commerial Refrigerated Display Merchandisers and Storage Cabinets (CRM) Certification Program
Tabs | Tabs have been color coded as follows
Gray | Instructions and information
Orange | Fillable Forms
Cells | Cells have been color coded as follows to show the action required for each
Gray | Question/Prompt - No action required
Yellow | Response Field - Answer required
No Fill | Answer provived and does not contain an error
Red | Error - Answer provided does not match requirements
Change Log
Version Number | Published Date | Description
v1.0 | 2023-11-08 | Original Published Version
©Copyright 2023, by Air-Conditioning, Heating, and Refrigeration Institute.
Please complete all form tabs below and fill out all required fields

## CRM-WT1
FORM CRM-WT1 CRM APPLICATION FOR WITNESS TESTING AHRI CERTIFICATION PROGRAM FOR COMMERCIAL REFRIGERATED DISPLAY MERCHANDISERS AND STORAGE CABINETS
I, the undersigned, hereby request the Air-Conditioning, Heating, and Refrigeration Institute (AHRI) to approve our test facility, located at:
Company Name:
Test Stand Name:
Street Address:
City:
State/Province:
Country:
Zip/Postal Code: |  |  | Is this a renewal of this test stand?
for the purpose of conducting certification tests in accordance with the AHRI Certification Program for Commercial Refrigerated Display Merchandisers and Storage Cabinets (CRM). All testing shall be conducted in accordance with the Applicable Rating Standard, as defined in the CRM Operations Manual, and witnessed by the Independent Third-Party Laboratory contracted by AHRI.
Submission of the CRM Witness Testing Application Package must be accompanied by the following:
a. | A complete list of all instruments and equipment being used to perform certification testing in accordance with the Applicable Rating Standard and a copy of each calibration report showing date of last calibration;
b. | A schematic drawing of the area of the test facility in which certification testing shall be performed; and
c. | Photographs of the test facility in which certification testing shall take place, which include sufficient views to show the location and connection of each instrument.
In signing this form, and submitting all information requested above, I acknowledge that the test facility is in conformance with all of the provisions of the Applicable Rating Standard.
Printed Name
Title
Signature of Certification Program Compliance Officer or Lab Manager
Date
Final approval of this test facility to conduct witness testing in support of the AHRI Certification Program for Commercial Refrigerated Display Merchandisers and Storage Cabinets is contingent upon AHRI’s approval of the information provided and satisfactory completion of a facility and equipment inspection. AHRI shall notify the Participant, in writing, when final approval of the test facility to conduct witness testing has been granted. Final approval shall received before any AHRI certification tests, including program qualification tests, can be conducted in the test facility.

## CRM-WT2
FORM CRM-WT2 PERSONNEL EXPERIENCE QUESTIONNAIRE AHRI CERTIFICATION PROGRAM FOR COMMERCIAL REFRIGERATED DISPLAY MERCHANDISERS AND STORAGE CABINETS
Company Name: |  | Please fill out 'Company' on CRM-WT1
Test Stand Name: |  | Please fill out 'Test Stand Name' on CRM-WT1
The following personnel are directly responsible for conducting the testing that will be witnessed at the Participant’s test facility in accordance with the AHRI Commercial Refrigerated Display Merchandisers and Storage Cabinets Certification Program:
| Primary Contact |  |  | Alternate Contact (Optional):
| Name |  |  | Name
| Title |  |  | Title
| Phone Number |  |  | Phone Number
| Email |  |  | Email
| Area of Responsibility for Certification Testing: |  |  | Area of Responsibility for Certification Testing:

## CRM-WT3
FORM CRM-WT3 FACILITY AND EQUIPMENT QUESTIONNAIRE AHRI CERTIFICATION PROGRAM FOR COMMERCIAL REFRIGERATED DISPLAY MERCHANDISERS AND STORAGE CABINETS
Instructions: Participant shall complete all applicable portions of form at time of request for preliminary witness test facility approval. At time of inspection the Laboratory Representative shall verify the Participant’s data and initial each section to signify verification and acceptance of the Participant’s data. Any discrepancy shall be noted and explained by the Laboratory Representative in the “Notes” section of the form.
Company Name: |  | Please fill out 'Company' on CRM-WT1
Test Stand Name: |  | Please fill out 'Test Stand Name' on CRM-WT1
TO BE FILLED OUT BY PARTICIPANT |  |  |  | LABORATORY REPRESENTATIVE’S INITIALS SIGNIFYING VERIFICATION AND ACCEPTANCE
Facility Operating Range
(a) Refrigeration Capacity, BTU/H
Minimum:
Maximum:
(b) Refrigeration Capacity, BTU/H
Minimum:
Maximum:
(c) Ambient Condition Control
(d) What type of instrumentation is used for humidity control?
(e) Humidity Range
(f) What type of instrumentation is used for dry bulb temperature control?
(g) Dry Bulb Range
(h) Power Requirement
List all Voltage Service Available (Voltage, Ampacity, Phase)
Physical Facility Characteristics
(i) What is the lift capacity?
(j) What is the largest unit your facility can accommodate? L: H: D:
Instrumentation [also see section (p)]
(k) Are the temperature measuring instruments capable of the range and accuracy specified in AHRI Standard 1200?
(l) Are the pressure measuring instruments capable of the range and accuracy specified in AHRI Standard 1200?
(m) Are the flow measuring instruments capable of the range and accuracy specified in AHRI Standard 1200?
Data Acquisition System
(n) Explain your total data acquisition system should you employ a computer. List all hardware and software. What data do you obtain?
Facility Staffing and Testing Issues
(o) | How many man-hours does it take for you to install a unit for test (fully instrumented)?
(p) | How long does it take you to conduct a standard rating test (start to finish, including calculations)?
(q) | How many shifts per day shall you employ for AHRI testing?
FOR INDEPENDENT LAB REPRESENTATIVE: Instruments in the facility match those listed on Form CRM-WT1.
Initials:
(r) | Other data pertinent to compliance with AHRI Standard 1200, if necessary: