## Information and Instructions
Facility Inspection Form
Liquid to Liquid Heat Exchangers (LLHE) Certification Program
Tabs | Tabs have been color coded as follows
Gray | Instructions and information
Orange | Fillable Forms
Cells | Cells have been color coded as follows to show the action required for each
Gray | Question/Prompt - No action required
Yellow | Response Field - Answer required
No Fill | Answer provived and does not contain an error
Red | Error - Answer provided does not match requirements
Change Log
Version Number | Published Date | Description
v1.0 | 2023-11-08 | Original Published Version
©Copyright 2023, by Air-Conditioning, Heating, and Refrigeration Institute.
Please complete all form tabs below and fill out all required fields

## LLHE-WT1
FORM LLHE-WT1 LLHE APPLICATION FOR WITNESS TESTING AHRI CERTIFICATION PROGRAM FOR LIQUID TO LIQUID HEAT EXCHANGERS
I, the undersigned, hereby request the Air-Conditioning, Heating and Refrigeration Institute (AHRI) to approve our test facility, located at:
Company Name:
Test Stand Name:
Street Address:
City:
State/Province:
Country:
ZIP/Postal Code: |  |  | Is this a renewal of this test stand?
for the purpose of conducting certification tests in accordance with the AHRI Certification Program for Liquid to Liquid Heat Exchangers (LLHE). All testing shall be conducted in accordance with the Applicable Rating Standard, as defined in the LLHE Operations Manual, and witnessed by the Independent Third-Party Laboratory contracted by AHRI.
Submission of the LLHE Witness Testing Application Package must be accompanied by the following:
a. | A complete list of all instruments and equipment being used to perform certification testing in accordance with the Applicable Rating Standard and a copy of each calibration report showing date of last calibration;
b. | A schematic drawing of the area of the test facility in which certification testing shall be performed; and
c. | Photographs of the test facility in which certification testing shall take place, which include sufficient views to show the location and connection of each instrument.
In signing this form, and submitting all information requested above, I acknowledge that the test facility is in conformance with all of the provisions of the Applicable Rating Standard.
Printed Name
Title
Signature of Certification Program Compliance Officer or Lab Manager
Date
Final approval of this test stand to conduct witness testing in support of the AHRI Certification Program for Liquid to Liquid Heat Exchangers is contingent upon AHRI’s approval of the information provided and satisfactory completion of a test stand and equipment inspection. AHRI will notify the Participant, in writing, when final approval of the test stand to conduct witness testing has been granted. Final approval must be received before any AHRI certification tests, including program qualification tests, can be conducted in the test stand.

## LLHE-WT2
FORM LLHE-WT2 PERSONAL EXPERIENCE QUESTIONNAIRE AHRI CERTIFICATION PROGRAM FOR LIQUID TO LIQUID HEAT EXCHANGERS
Company Name: |  | Please fill out 'Company' on LLHE-WT1
Test Stand Name: |  | Please fill out 'Test Stand Name' on LLHE-WT1
Describe below the personnel directly responsible for the conduct of the testing to be witnessed. State name, title, and area of responsibility in the sections noted. It is assumed that the descriptions will be those of your key test personnel and not necessarily of management personnel.
| Primary Contact |  |  | Alternate Contact (Optional):
| Name |  |  | Name
| Title |  |  | Title
| Phone Number |  |  | Phone Number
| Email |  |  | Email
| Area of Responsibility for Certification Testing: |  |  | Area of Responsibility for Certification Testing:

## LLHE-WT3
FORM LLHE-WT3 FACILITY AND EQUIPMENT QUESTIONNAIRE AHRI CERTIFICATION PROGRAM FOR LIQUID TO LIQUID HEAT EXCHANGERS
Company: |  | Please fill out 'Company' on LLHE-WT1
Test Stand Name: |  | Please fill out 'Test Stand Name' on LLHE-WT1
1. | What is the operating range of your facility (at least one system of units required):
[5 empty] | Minimum |  |  | Maximum
[5 empty] | kBtuh | kW |  | kBtuh | kW
| a. | Capacity
[5 empty] | Minimum |  |  | Maximum
| b. | Water Flow |  |  | GPM | m3/h |  | GPM | m3/h
Hotstream
Cold Stream
[5 empty] | Minimum |  |  | Maximum
| c. | Temperature |  |  | °F | °C |  | °F | °C
Hotstream
Cold Stream
2. | What is the pumping arrangement for the test facility?
| a. | A pump for each stream
| b. | One pump for both streams
| c. | Can have both a) or b)
3. | What provision is made for the Independent Third Party Instrumentation?
| a. | Temperature
|  | aa. | Thermo well (1/4 in. probe)
|  | ab. | Directly into the stream (1/4 in compression fitting)
| b. | Water Pressure Drop
|  | ba. | Off common tap
|  | bb. | Separate tap (1/4 in. compression fitting)
4. | How long does it take for you to install a unit for test (fully instrumented)?
[7 empty] | Persons | Hours
Direct Supervision Man-Hours
5. | How long does it take you to conduct a rating test (start to finish, include calculations)?
[7 empty] | Persons | Hours
Direct Supervision Man-Hours
6. | How many shifts per day will you employ for the AHRI witness testing?
7. | Where do you place your water temperature measuring instruments?
| a. | Thermo Well
| b. | Directly into the stream
8. | What type of instruments do you use for determining water temperatures?
| a. | RTD
| b. | Thermister
| c. | Other
|  | How often do you calibrate this instrument(s)? |  |  |  |  | Every |  | Months
Is the primary standard traceable to NIST?
9. | What type of water flow measuring instruments do you use?
| a. | Coriolis Meter
| b. | Magnetic Meter
| c. | Turbine Meter
| d. | Orifice Meter
| e. | Other
|  | How often do you calibrate this instrument(s)? |  |  |  |  | Every |  | Months
Is the primary standard traceable to NIST?
Is flow measuring instrument(s) installed to any code standards?
10. | What instruments do you use to measure water pressure drop?
| a. | Transducers
| b. | Gauges
| c. | Other
| How often do you calibrate this instrument? | [5 empty] | Every |  | Months
11. | Explain your data acquisition system.