## Information and Instructions
Facility Inspection Form
Residential Boilers (RBLR) Certification Program
Tabs | Tabs have been color coded as follows
Gray | Instructions and information
Orange | Fillable Forms
Cells | Cells have been color coded as follows to show the action required for each
Gray | Question/Prompt - No action required
Yellow | Response Field - Answer required
No Fill | Answer provived and does not contain an error
Red | Error - Answer provided does not match requirements
Change Log
Version Number | Published Date | Description
v1.0 | 2023-11-08 | Original Published Version
©Copyright 2023, by Air-Conditioning, Heating, and Refrigeration Institute.
Please complete all form tabs below and fill out all required fields

## RBLR-WT1
FORM RBLR-WT1 RBLR APPLICATION FOR WITNESS TESTING AHRI CERTIFICATION PROGRAM FOR RESIDENTIAL BOILERS
I, the undersigned, hereby request the Air-Conditioning, Heating and Refrigeration Institute (AHRI) to approve our test facility, located at:
Company Name:
Test Stand Name:
Street Address:
City:
State/Province:
Country:
Zip/Postal Code: |  |  | Is this a renewal of this test stand?
for the purpose of conducting certification tests in accordance with the AHRI Certification Program for Residential Boilers (RBLR). All testing shall be conducted in accordance with the Applicable Rating Standard, as defined in the RBLR Operations Manual, and witnessed by the Independent Third-Party Laboratory contracted by AHRI.
Submission of the RBLR Witness Testing Application Package must be accompanied by the following:
a. | RBLR Equipment Calibration Report Form;
b. | A schematic drawing of the area of the test facility in which certification testing shall be performed;
c. | Photographs of the test facility in which certification testing shall take place, which include sufficient views to show the location and connection of each instrument; and
d. | Special Requirements – Descriptions of any special requirements (i.e. safety equipment, lab requirements, etc.).
In signing this form, and submitting all information requested above, I acknowledge that the test facility is in conformance with all of the provisions of the Applicable Rating Standard.
Printed Name
Title
Signature of Certification Program Compliance Officer or Lab Manager
Date
Final approval of this test facility to conduct witness testing in support of the AHRI Program for Performance Certification of Residential Boilers is contingent upon AHRI’s approval of the information provided and satisfactory completion of a facility and equipment inspection. AHRI will notify the Participant, in writing, when final approval of the test facility to conduct witness testing has been granted. Final approval shall be received before any certification tests, including program qualification tests, can be conducted in the test facility.

## RBLR-WT2
FORM RBLR-WT2 PERSONNEL EXPERIENCE QUESTIONNAIRE AHRI CERTIFICATION PROGRAM FOR RESIDENTIAL BOILERS
Company Name: |  | Please fill out 'Company' on RBLR-WT1
Test Stand Name: |  | Please fill out 'Test Stand Name' on RBLR-WT1
The following personnel are directly responsible for conducting the testing that will be witnessed at the Participant’s designated test facility in accordance with the AHRI Program for Performance Certification of Residential Boilers:
| Primary Contact |  |  | Alternate Contact (Optional):
| Name |  |  | Name
| Title |  |  | Title
| Phone Number |  |  | Phone Number
| Email |  |  | Email
| Area of Responsibility for Certification Testing: |  |  | Area of Responsibility for Certification Testing:

## RBLR-WT3
FORM RBLR-WT3 FACILITY AND EQUIPMENT QUESTIONNAIRE AHRI CERTIFICATION PROGRAM FOR RESIDENTIAL BOILERS
Company Name: |  | Please fill out 'Company' on RBLR-WT1
Test Stand Name: |  | Please fill out 'Test Stand Name' on RBLR-WT1
1. | What is the operating Input Capacity, Btu/hr range of this facility?
| a. | Natural Gas | Minimum | Maximum
| b. | Propane Gas | Minimum | Maximum
| c. | Light Oil | Minimum | Maximum
2. | What types of tests can be conducted at this lab?
3. | Can the lab deliver the necessary water supply to conduct the test
4. | How long does it take for you to install a unit for test (fully instrumented)?
[5 empty] | Persons | Hours
5. | How long does it take you to conduct a complete test series, start to finish, including calculations?
[5 empty] | Persons | Hours
6. | How many shifts per day will you employ for the AHRI witness testing?
7. | Is a regulated voltage supply available for the test unit?
8. | If not "regulated," will the voltage stay within the allowable tolerance of Residential Boiler Program – Test Protocol during the testing?
Describe: